Millview-Updated Site Map

- Install a concrete border along the edge of the asphalt (approximately 927 feet). Concrete 12” wide x 6” depth. Control joints every 12 feet. Top of border to be set at existing asphalt grade.

- Control joints every 10 feet.

West Courts

- Six-foot square around south end tree 12” wide x 6” depth. Top of border to be set at existing asphalt grade.

- Remove the sidewalk leading from the parking lot gate to basketball courts. Replace with new concrete. Approximately 15’x5’x4” 18’x5’x4” and 7’x10.5’x4”

- No Approach

- No Asphalt

Fire Lane and NE Courts

- Remove 12-inch wide section of asphalt approximately 637 feet in length. Replace with concrete 12” wide x 6” depth. Control joints every 12 feet. Top of border to be set at existing asphalt grade.

- Control joints every 10 feet.